Luke:

Interesting take on LEED approach. Too early to take primary focus on system.

How do you set your goals? How do you entice me with the lighting?

How do you want to achieve energy savings?

Will you guarantee that this will get you the point?

Some fixtures can use smaller wattage to achieve same effect.

Issue of lighting speaker in case study classroom.

Wallwasher selected looks like it may just graze wall.

Sandra:

Very focused on task, but may need to focus on surroundings more.

Linear fluorescent has “industrial feel.”

Good establishment of hierarchy of space.

Controls will help, but must be investigated further.

Kari:

The “criteria” listed are more like “goals.”

Tell alternative solutions to problems.

Fixture selection needs work.

Some slides not needed (sections)

Detail the next step of the process.

Micro-turbine a good idea – can use smaller transformer for receptacle load.

PVs are a good idea for LEED points, but density of load does not equal control of load.

Get details on upfront cost of PVs.

The “emergency” generator should be called a “standby” generator.