## Slide 1: University Medical Center of Princeton David Bodnar Construction Management
2010 Senior Thesis

## Slide 2: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Outline

## Slide 3: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Project Background

## Slide 4: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Project : University Medical Center of Princeton
Location : Plainsboro NJ
Owner : Princeton HealthCare System
Construction Manager : Turner Construction
Cost : $321 Million
Size : 209,525 square feet / 7 stories
Project Background

## Slide 5: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Construction Phases & Buildings
Project Background

## Slide 6: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Thesis Theme
Project Background
“To look at sustainable ideas that could possible be incorporated into the design and constructing of the University Medical Center of Princeton”

## Slide 7: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Efficient Curtain Wall
Analysis I

## Slide 8: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Original Windows in Place
Efficient Curtain Wall
Common 1” double pane window
U – Value
Summer – 0.3
Winter – 0.27
SHG – 0.28
UV Transmittance – 16%

## Slide 9: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Proposed Windows
Efficient Curtain Wall
Common 1” double pane window
U – Value
Summer – 0.15
Winter – 0.16
SHG – 0.49
UV Transmittance – 1%

## Slide 10: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Benefits of Serious Materials Windows
Efficient Curtain Wall
Better window insulation with lower U-value
Better for heat gain in the winter
Better protection from harmful UV rays
No change in schedule and constructability
Savings on mechanical equipment and electrical usage to run mechanical system

## Slide 11: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Greywater System
Analysis II

## Slide 12: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
What is Greywater?
Greywater System
Greywater comes from laundry, kitchen, bath, etc.
Blackwater comes from toilet
Blackwater harder to purify than greywater due to more nitrogen

## Slide 13: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Anaerobic to Aerobic Pre – Treatment System
Greywater System
Works best for breaking down cooking grease and food residue
Septic tank breaks down grease and sludge
Sand filter treats water with oxygen
Pumped to planter bed for near potable treatment

## Slide 14: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Cost Analysis
Greywater System
Water and sewage cost for typical hospital kitchen=$10.60 per day
Cost of greywater system = $4,232.00
Total time for system to pay it self off ≈13.5 month

## Slide 15: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Benefits and Uses of Greywater
Greywater System
Usage:
Use recycled greywater for plant irrigation and HVAC cooling
Positive:
Cost savings on water and sewage bill
Negative:
Upfront cost of system

## Slide 16: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Pre – Cast Foundation Wall
Analysis III

## Slide 17: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Cost Analysis
Pre - Cast Foundation Wall
Cost of Cast in Place = $1,894,713.20
Cost of Pre – Cast = $2,540,538.00
General Conditions Savings = $292,100.00 and 57 days / 8 month
Overall added cost = $353,715.80

## Slide 18: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Advantages
Pre - Cast Foundation Wall
Takes less time to installs pre-cast foundation wall systems
Schedule acceleration
Better quality due to being manufactured off site
Less construction waste
More energy efficient

## Slide 19: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Disadvantages
Pre - Cast Foundation Wall
Cost as opposed to cast-in place foundation wall system
Size of panels limitations due to shipping
More coordination on site

## Slide 20: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Green Roof
Analysis IV

## Slide 21: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Components and Cost
Green Roof
Cost per square foot for green roof = $14.00
Approximately 18,500 square feet of roof area
Overall cost of ≈ $259,000.00

## Slide 22: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Structural Analysis
Green Roof
4” systems weights ≈ 21 pounds per square foot
Passed!!!

## Slide 23: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Stormwater Collection
Green Roof
Green roofs are very good in collecting Stormwater
Average rain fall in New Jersey is 3.84 inch per month
Average of 44,280 gallons of water run off the roof per month

## Slide 24: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Additional Benefits
Green Roof
Urban Heat-Island Effect
Reduce heating and cooling loads by ≈25%
Use of recycled materials

## Slide 25: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Remarks & Acknowledgements

## Slide 26: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Remarks
Good
  Change in windows
  Greywater system
  Green roof
Bad (Maybe!!!!!!!!!!)
  Pre – Cast Foundation Wall

## Slide 27: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Penn State Faculty
Dr. Chris Magent
Professor Robert Holland
Turner Construction
Chris Auer, Project Manager
Princeton HealthCare Systems
And most of all my family, friends, and fellow AE students
Acknowledgements

## Slide 28: University Medical Center of Princeton David Bodnar Construction Management
Introduction & Outline
Project Background
Efficient Curtain Wall
Greywater System
Pre – Cast Foundation Wall
Green Roof
Remarks & Acknowledgements
Questions
Questions