## Slide 2
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
DALE E. HOUCK
MECHANICAL OPTION

## Slide 3
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
DALE E. HOUCK
MECHANICAL OPTION
PROJECT SUMMARY
EXISTING CONDITIONS
DEPTH STUDIES
SUSTAINABILITY BREADTH STUDIES
CONCLUSIONS

## Slide 4
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
INTRODUCTION
PROJECT SUMMARY
INTRODUCTION
PROJECT SUMMARY
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
CONCLUSIONS
OWNER
ARCHITECTS AND ENGINEERS
CONSTRUCTION MANAGER
SITE/CIVIL ENGINEER
LANDSCAPE ARCHITECT
THE UNIVERSITY OF SCRANTON
EINHORN YAFFEE PRESCOTT A&E, P.C.
QUANDEL ENTERPRISES, INC.
CECO ASSOC, INC.
M.L. BAIRD & CO.
PROGRAM
150,000 SF NEW CONSTRUCTION
50,000 SF RENOVATIONS
4 FULL FLOORS, PARTIAL GROUND FLOOR
CONSTRUCTION: MAY 2009 – FALL 2011
$73 MILLION GMP CONTRACT
DEPARTMENTS OF BIOLOGY, CHEMISTRY, COMPUTING SCIENCES, PHYSICS, ELECTRICAL ENGINEERING, AND MATHEMATICS

## Slide 5
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
INTRODUCTION
PROJECT SUMMARY
Architecture
Designed according to principles of project kaleidoscope
Encourages interdisciplinary collaboration
Modern design of new construction seamlessly integrates with renovation of existing structure
INTRODUCTION
PROJECT SUMMARY
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
CONCLUSIONS
DESIGNED FOR LEED SILVER CERTIFICATION
STONE FAÇADE SUPPLIED BY LOCAL QUARRY
RECYCLED MATERIALS
CONSTRUCTION WASTE MANAGEMENT
EFFICIENT LIGHTING AND MECHANICAL SYSTEMS
EFFICIENT WATER FIXTURES

## Slide 6
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
EXISTING CONDITIONS
AIR SIDE
INTRODUCTION
EXISTING CONDITIONS
AIRSIDE
WATERSIDE
DEPTH WORK
BREADTH WORK
CONCLUSIONS

## Slide 7
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
EXISTING CONDITIONS
AIR HANDLING UNITS
VARIABLE AIR VOLUME SUPPLY FANS
ENTHALPY WHEELS
VARIABLE FREQUENCY DRIVE FANS
AIR SIDE
INTRODUCTION
EXISTING CONDITIONS
AIRSIDE
WATERSIDE
DEPTH WORK
BREADTH WORK
CONCLUSIONS

## Slide 8
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
EXISTING CONDITIONS
WATER SIDE
INTRODUCTION
EXISTING CONDITIONS
AIRSIDE
WATERSIDE
DEPTH WORK
BREADTH WORK
CONCLUSIONS

## Slide 9
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
EXISTING CONDITIONS
WATER SIDE
INTRODUCTION
EXISTING CONDITIONS
AIRSIDE
WATERSIDE
DEPTH WORK
BREADTH WORK
CONCLUSIONS

## Slide 10
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
HEAT RECOVERY WHEEL
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
EXISTING ENTHALPY WHEEL TRANSFERS LATENT AND SENSIBLE HEAT BETWEEN EXHAUST AND SUPPLY AIR

## Slide 11
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
HEAT RECOVERY WHEEL
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
EXISTING ENTHALPY WHEEL TRANSFERS LATENT AND SENSIBLE HEAT BETWEEN EXHAUST AND SUPPLY AIR
ADDITION OF SENSIBLE WHEEL ELIMINATES NEED FOR HEATING COIL

## Slide 12
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
HEAT RECOVERY WHEEL
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS

## Slide 13
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
HEAT RECOVERY WHEEL
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
FIRST COST: + $400,000
ENERGY SAVINGS: $45,000/YEAR
SIMPLE PAYBACK PERIOD: 8-9 YEARS

## Slide 14
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
CHILLED BEAMS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS

## Slide 15
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
CHILLED BEAMS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
FIRST COST: +207,200
ENERGY SAVINGS: $75,000/YEAR
SIMPLE PAYBACK PERIOD: 3-5 YEARS

## Slide 16
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
TRADITIONAL VAV SYSTEM
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
POOR ENERGY USE
POOR USE OF PLENUM SPACE
UNKNOWN VENTILATION PERFORMANCE

## Slide 17
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
TRADITIONAL VAV SYSTEM
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS

## Slide 18
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT DEPTH
TRADITIONAL VAV SYSTEM
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
SENSIBLE WHEEL
CHILLED BEAMS
VAV SYSTEM
BREADTH WORK
CONCLUSIONS
FIRST COST: COMPARABLE TO EXISTING SYSTEM
ENERGY COST INCREASE: $200,000/YEAR
POOR INDOOR AIR QUALITY
INCREASED MECHANICAL SPACE

## Slide 19
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
LIGHT SHELVES
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS

## Slide 20
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
LIGHT SHELVES
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS

## Slide 21
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
LIGHT SHELVES
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS

## Slide 22
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
SOLAR PANELS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS

## Slide 23
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
SOLAR PANELS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS

## Slide 24
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
SOLAR PANELS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS
900 SF 10 KW SOLAR ARRAY:
INITIAL COST: $90,000
ENERGY SAVINGS: $1,066/YEAR
SIMPLE PAYBACK PERIOD: 90 YEARS

## Slide 25
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
PROJECT BREADTH
RAINWATER COLLECTION
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
LIGHT SHELVES
SOLAR PANELS
RAINWATER REUSE
CONCLUSIONS
11,000 SF ROOF AREA
FIRST COST: $437,500
UTILITY SAVINGS: $2,750/YEAR
SIMPLE PAYBACK PERIOD: 160 YEARS

## Slide 26
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
CONCLUSIONS
INTRODUCTION
EXISTING CONDITIONS
DEPTH WORK
BREADTH WORK
CONCLUSIONS
HEAT RECOVERY WHEELS
GOOD OPTION
CHILLED BEAMS
UNCERTAINTY OF LATENT LOADS
VAV SYSTEM
OUTPERFORMED IN INITIAL AND ANNUAL COST
LIGHT SHELVES
SUBJECT TO PLENUM SPACE
SOLAR PANELS
NOT ECONOMICALLY VIABLE
RAINWATER COLLECTION
NOT ECONOMICALLY VIABLE

## Slide 27
UNIFIED SCIENCE CENTER
THE UNIVERSITY OF SCRANTON SCRANTON, PA
QUESTIONS?