## Slide 1
A Medical Office Building
For
The Primary Health Network
Daniel Goff I Structural Option
Dr. Thomas Boothby l Faculty Advisor
Sharon, Pennsylvania
Source: primary-health.net
Source: sharonherald.com

## Slide 2
A Medical Office Building
Sharon, Pa
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements
Building Introduction
Architect John N. Gruitza Associates
Structural Engineer Taylor Structural Engineers
Construction Dates November 2014-January 2016
Height 79’-0”
Size 78,000 GSF
Primary Usage Medical Office Building
Sharon, Pa

## Slide 3
A Medical Office Building
Sharon, Pa
Building Geometry
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements
2nd Floor Plan

## Slide 4
A Medical Office Building
Sharon, Pa
Existing Gravity System
Spread Footings
Composite Floor deck
  19/32” 26 gage form deck
  K series Bar Joists
Wide Flange Members
Masonry Bearing Walls
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements
2nd Floor Plan

## Slide 5
A Medical Office Building
Sharon, Pa
Existing Lateral System
Masonry Shear Walls
  Load Bearing
  Ivany Block
  f’m = 3000psi
Source: koltcz.com
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements
2nd Floor Plan

## Slide 6
A Medical Office Building
Sharon, Pa
Investigated Designs
Non-Composite Beams
Composite Beams
Two-Way Flat Plate Slab
Decision Matrix
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 7
A Medical Office Building
Sharon, Pa
Proposed Alternate Solution
Gravity System
Two-Way Concrete flat Slab
Concrete Columns
Lateral
Concrete Shear Walls
Goals
No Change in Building Layout
Reduced Structural Depth
Reduced Cost
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 8
A Medical Office Building
Sharon, Pa
Proposed Alternate Solution
Architecture
  Façade redesign
Construction Management
  New Construction Timeline
  Cost estimate and comparison
Goals
Modern aesthetics
Integrate with existing architecture
Reduced Cost
Feasibility of schedule
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 9
Gravity System Design
Lateral System Design
Architecture

## Slide 10
Gravity System Design
Lateral System Design
Architecture

## Slide 11
A Medical Office Building
Sharon, Pa
Slab Design
Design
Preliminary Design from CRSI
spSlab
Drop panels
Edge Beams
Constructability
Loading
Live load of 80psf
Superimposed Dead load of 20psf
Geometry
10” thick slab
9’ square drop panels
  8” thick
18” square edge beams
Typical Floor Plan
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 12
A Medical Office Building
Sharon, Pa
Deflections
ACI 318-11 Table 9.5(c)
10” 30’ span
ACI 318-11 Table 9.5(b)
l/360
l/240
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 13
A Medical Office Building
Sharon, Pa
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 14
A Medical Office Building
Sharon, Pa
Column Design
18”x18” Throughout
15’-6” Floor to Floor height
Four columns analyzed
spColumn
Two Designs selected
f’c = 4000psi
Exterior Column
Interior Column
4 #9 Bars
16 #9 Bars
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 15
A Medical Office Building
Sharon, Pa
Column Locations
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 16
Gravity System Design
Lateral System Design
Architecture

## Slide 17
A Medical Office Building
Sharon, Pa
Shear Wall Design
Significant increase in building weight
Layout
ETABS 2013
f’c = 4000psi
12” Thick
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 18
A Medical Office Building
Sharon, Pa
Shear Wall Reinforcement Layout
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 19
A Medical Office Building
Sharon, Pa
Design Checks & Assumptions
P-Delta Effects
Out of Plane Stiffness
Drift Checks ∆ ≤ 0.23”
Non-Sway assumption
Rigid Diaphragm
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 20
Gravity System Design
Lateral System Design
Architecture

## Slide 21
A Medical Office Building
Sharon, Pa
Background
First new project since 1969
Surrounding architecture
Existing façade
Source: sharonherald.com
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 22
A Medical Office Building
Sharon, Pa
Case Studies
Diana Center at Barnard College
www.archdaily.com
www.flickr.com
Tsinghua Law Library
Architect: Weiss/Manfredi
Architect: KokaiStudios
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 23
A Medical Office Building
Sharon, Pa
New Façade
North View
North East View
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 24
A Medical Office Building
Sharon, Pa
Conclusions
40% reduction in structural depth
Met all requirements for strength & serviceability
12% increase in structural cost
127% increase in façade cost
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements
Structural Redesign: Viable Option
Façade Redesign: Not Feasible

## Slide 25
A Medical Office Building
Sharon, Pa
Acknowledgements
Special Thanks to:
  Thomas Boothby
  Linda Hanagan
  Taylor Structural Engineers
  The AE Faculty
  My friends and family
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements

## Slide 26
A Medical Office Building
Sharon, Pa
Questions
Building Introduction
Proposal
Gravity System Redesign
  Slabs
  Columns
Lateral System Redesign
  Design
  Assumptions
Architecture Breadth
  Background
  Façade
Conclusion
Acknowledgements