## Slide 1
All Hakuna Resort photos in courtesy of LMN Development LLC
Young Jeon
Structural Option
Advisor: Heather Sustersic
Hakuna Resort
AE Senior Thesis 2015

## Slide 2
Presentation Outline
Introduction
Existing Structure
Thesis Topics
Structural Depth
Architectural Breadth
Conclusion
I
E
T
S
A
C

## Slide 3
Building Statistics
Hakuna Resort (fictitious)
Swiftwater, PA (fictitious)
Function type: Residential (R-1)
Project total SF: 786,125 SF
Focused SF: 143,107 SF
8 story tall
Date of construction: March 2014 – Summer 2015
Project Total Cost: $230 million
Waterpark
Hotel
Convention
I
E
T
S
A
C
Owner | LMN Development, LLC
Architect | Architectural Design Consultants
GC | Kraemer Brothers, LLC
MEP/Structural | Harwood Engineering Consultants
Civil | Pennoni Associates, INC.
courtesy of LMN Development LLC
courtesy of LMN Development LLC
Google Map

## Slide 4
10” & 12” Precast Prestressed Hollow Core Planks with 3” composite topping
Load bearing masonry shear walls
Reinforced concrete shear walls
Steel moment frames
I
E
T
S
A
C
Existing Structure
First Floor Plan

## Slide 5
Portion unexcavated
Strip footing for concrete walls
Spread footing for concrete columns
Footing thickness varies from 2’ to 3’-6”
#9 to #11 reinforcements
4” slab on 1st floor
5” slab on foundation
I
E
T
S
A
C
Foundation

## Slide 6
I
E
T
S
A
C
Structural Depth
Purpose:
To compare staggered truss system with existing load bearing masonry shear wall
Advantages:
Repetitive floor layout
Works well with existing hollow core planks
Potential for change in cost and schedule

## Slide 7
I
E
T
S
A
C
Structural Depth
Purpose:
To compare staggered truss system with existing load bearing masonry shear wall
Advantages:
Repetitive floor layout
Works well with existing hollow core planks
Potential for change in cost and schedule
Architectural Breadth
Purpose:
To redesign first and second floor
To redesign exterior façade
Reasons:
First and second floor requires open spaces for service areas
Existing façade is boring. Add more exciting features
courtesy of LMN Development LLC

## Slide 8
  Evaluate the new project construction schedule and cost with the staggered truss system and compare the outcomes
I
E
T
S
A
C
Structural Depth
Purpose:
To compare staggered truss system with existing load bearing masonry shear wall
Advantages:
Repetitive floor layout
Works well with existing hollow core planks
Potential for change in cost and schedule
Architectural Breadth
Construction Breadth
Purpose:
To redesign first and second floor
To redesign exterior façade
Reasons:
First and second floor requires open spaces for service areas
Existing façade is boring. Add more exciting features
courtesy of LMN Development LLC

## Slide 9
    AISC Design Guide 14 – Staggered Truss Framing Systems was used for basic understanding of the system and hand calculation procedure guidance
Central Vierendeel panel for corridor
W-shape chords
W-shape columns
HSS-shape verticals and diagonals
  Representation of staggering of the trusses, allowing more square footage without blocking of walls at each level at every structural gridlines.
I
E
T
S
A
C
Staggered Truss System
Example Truss Frame from AISC Design Guide 14
AISC Design Guide 14

## Slide 10
I
E
T
S
A
C
Staggered Truss System
Truss 1
Truss 2
Dead Load
  68 psf – hollow core planks
  37.5 psf – composite topping
  10 psf – super imposed load
Live Load
  40 psf – hotel rooms
  100 psf – corridor
  100 psf – lobby area

## Slide 11
I
E
T
S
A
C
Staggered Truss System
Chords continuous and fixed at the ends
Diagonal and vertical members pinned at both ends
Vierendeel panels all fixed
Fixed base
Finish Designs
Roof
8th
7th
6th
5th
4th
3rd
2nd
1st
Roof
8th
7th
6th
5th
4th
3rd
2nd
1st

## Slide 12
Chord deflection
Largest deflection = 0.919” < L/240 = 3.35”
Largest LL deflection = 0.29” < L/360 = 2.23”
Column lateral deflection (wind)
Roof displacement = 0.526” < L/400 = 2.01”
I
E
T
S
A
C
Deflections

## Slide 13
Redesign lower levels floor layout to accommodate the restrictiveness of truss opening.
Redesign the façade to catch people’s attention when they first encounter the resort
I
E
T
S
A
C
Architectural Breadth
courtesy of LMN Development LLC

## Slide 14
I
E
T
S
A
C
Floorplan Redesign

## Slide 15
I
E
T
S
A
C
Floorplan Redesign

## Slide 16
http://7-themes.com/
I
E
T
S
A
C
Façade Redesign
courtesy of LMN Development LLC

## Slide 17
http://7-themes.com/
http://www.fibrosan.com.tr/
United Cargo Headquarters Sydney: Condell Park
http://www.e-architect.co.uk/
I
E
T
S
A
C
Façade Redesign

## Slide 18
I
E
T
S
A
C
Façade Redesign

## Slide 19
I
E
T
S
A
C
Conclusion
Structural
Staggered truss system is feasible design
Successfully resist gravity loads and lateral loads in the N-S direction
Great educational experience
Architectural Breadth
Construction Breadth
Floor layout adjusted according to staggered truss frame layout
May not be the best layout for the service area for privacy
Redesigned hotel façade to be more exciting when encountered
Overall cost increased by $200,000 (0.09% of total project cost)
Schedule reduced by 3 days

## Slide 20
Special Thanks to…
LMN Development, LLC
All AE Structural Faculty members
Especially Prof. Sustersic
My family and friends
Heavenly Father and His Son Jesus Christ

## Slide 21
Thank you!
Questions?